## Slide 1
Intensity interferometry for imaging dark objects
Dmitry Strekalov, Baris Erkmen, Igor Kulikov, Nan Yu
Jet Propulsion Laboratory, California Institute of Technology
Quantum Sciences and Technology group

## Slide 2
Ghost Imaging with thermal light
Theory: Experiment:
Object
50/50
beam splitter
Image
Transverse mode (speckle) size

## Slide 3
Can an object replace the beam splitter?
x'
Object
Image
x2
x1
Notes: Corfunction will carry the information of the object’s optical properties, though a general analysis is complicated.

## Slide 4
Object
Source
Object
Source
This enables two possible observation scenarios

## Slide 5
Our model and approach
Paraxial approximation
Flat source and object
Gaussian distribution
of source luminosity
and object opacity
Key assumptions:
[D.V. Strekalov, B.I. Erkmen, and N. Yu, Phys. Rev. A, 88, 053837 (2013)]

## Slide 6
Gaussian absorber on the line of sight
50 cm
50 cm
r
r
Rs = 1 cm
Ro = 1, 2, 3 mm
A small absorbing object has little effect on the speckle shape, but affects its width.
Speckle
width

## Slide 7
9%
50 cm
50 cm
r
r
Rs = 1 cm
Ro = 1 mm
Gaussian absorber crossing line of sight
Transition direction matters! “Stereoscopic vision”
9%
Perpendicular
6%
Parallel

## Slide 8
Francois et al.
Nature 482
195-198 (2012)
Source: Rs = 0.94R , Ls = 12 Rs, angular size 1.5e-10 radians
Object: Ro = REarth, L = 290 pc, angular size 1.2e-12 radians
Kepler 20e, intensity measurement
Object appears smaller than the source; speckle smaller than the object;
speckle smaller than the shadow
1.9 10-4
x

## Slide 9
Kepler 20e, speckle width measurement (hypothetical)
Detectors base
1
1+5.5 10-5
x
1-1.1 10-4
x
We could determine the transient direction!
1.7 10-4
x
Max fractional
width variation

## Slide 10
What SNR should we expect from a real thermal light source?
Broadband detection Narrow-band detection
Full optical bandwidth and power of the source; g(2) contrast reduced due to multimode detection.
Reduced optical bandwidth and power of the source; full contrast of g(2) due to single-mode detection.
In the low spectral brightness regime (e.g., faint black body radiation), these two scenarios yield similar SNR. For spectrally resolved observation (e.g., a specific atomic transition), narrowband detection provides an advantage! In any case, large WB is beneficial.
Table-top pseudo- thermal
Astronomy stellar
WB detection bandwidth
T0 coherence time
T integration time
[D.V. Strekalov, B.I. Erkmen, and N. Yu, Phys. Rev. A, 88, 053837 (2013)]

## Slide 11
If the source speckle upon the object
is smaller than the object feature,
How is the object’s signature encoded in the correlation function
Introducing and (symmetric configuration)
Fourier-transform of the source luminosity (van Cittert–Zernike theorem)
The source luminosity
Fourier-transform of the object opacity
or approximately
(large source, small object)
source

## Slide 12
Correlation function constraint: the absolute value must match the observation
Object absorption constraint: 1. A is Real
2. 0<A<1*
3. Size limitation (not expected to be larger than…)
4. Often we know that the object is solid: A = 0 or A = 1*
5. Using low-resolution “support” image
Gerchberg-Saxton algorithm for dark objects
*) These constraint are specific to our approach
Correlation function (observed)
Object’s profile (reconstructed)
Corfunction constraint
Object constraint
FT
FT-1

## Slide 13
2 mm
Source:
R = 2 mm,
l = 532 nm,
Gaussian
luminosity
distribution
36 cm
36 cm
Object
Detectors array to measure
the correlation function
X 1000
brightness amplification
The source speckle observed in the correlation function measurement (on the left) is modified by the presence of the object. By artificially increasing its brightness (on the right) we can clearly see a structure encoding the spatial distribution of the object’s opacity, which is to be recovered.
Image reconstruction example
(numerical simulation on the lab scale)
6.4 mm
6.4 mm
In this geometry, the object produces no tell-tale shadow!

## Slide 14
The reconstruction results
(not using the “solid object” A = 0 or A = 1 constraint)
[D.V. Strekalov, I. Kulikov, and N. Yu, to appear in Optics Express (2014)]

## Slide 15
Handling solid (A = 0 or A = 1) objects
1
1
0
1
1
0
0.5
0.5
1
1
0
0.5

## Slide 16
Astrophysics example:
a hypothetical Earth-size planet in the Oort cloud
1 ly
Sirius
8.6 ly
Detectors array: 2000 x 2000, 1m-spaced, 532 nm
Detectors array are so large in order to capture the source speckle and the object/pixel speckle at the same time. Can we avoid insanely large arrays?
with two 1000 km moons
arc sec
arc sec
0.7 % flux reduction

## Slide 17
Iteration # 0 (initial guess) 1 10 20
Iteration # 30 40 50 60
Iteration # 70 80 90 100
The reconstruction results

## Slide 18
Experimental demonstration with a pseudo-thermal light source
Ixy
Iyx
Correlation observable:

## Slide 19
Experiment 1. Double slit
X (mm)
60 cm
90 cm
Rs= 2.15 mm
Gaussian spot
Slits width 0.22 mm,
distance between centers 1.01 mm
Ix
I-x
Notes: From 04 16 2014 ss4 no lens

## Slide 20
Experiment 2. Double wire
58 cm
89 cm
Rs= 2.15 mm
Gaussian spot
Wires diameter 0.32 mm,
distance between centers 1.4 mm
X (mm)
Notes: From 04 17 2014 Dbl wire 1

## Slide 21
There are many phase objects in space!
(Gravitational lensing and microlensing)
A luminous red galaxy (LRG 3-757) has gravitationally distorted the light from a much more distant blue galaxy. Photo by Hubble.
The Einstein Cross: four images of a distant quasar Q2237+030 appear due to strong gravitational lensing caused by a foreground galaxy. Photo by Hubble.

## Slide 22
Intensity-interferometric imaging of a phase object
Example: a parabolic lens ;
when Is[…] = Is[0] = const, and
isn’t good enough; need higher-order terms
Where Is[…] is the intensity of the source, and is the gradient of phase.
Phase contribution

## Slide 23: Phase object reconstruction steps:
Use Gerchberg-Saxon algorithm to recover the source function with modified argument
Invert Is[…] to recover
Restored phase object
Original phase object
500
iterations
Restoring
after
correlation
function
Encoding
into
50 cm
50 cm
Keep this piece,
remove the rest
of the lens
f = 11.36 cm
cm
cm

## Slide 24
Summary
  Exoplanets
  Neutron stars
  Kuiper Belt / Oort cloud objects
  Dark matter
  Gas or dust clouds
  Gravitational lensing and microlensing
A dark object in the line of sight affects a light source correlation function, imprinting upon it its own optical properties. This phenomenon may be used for intensity-interferometric imaging of this object.
This technique may be promising for high-resolution observation of a variety of space objects and phenomena, e.g.
SNR in the intensity-interferometric imaging of dark objects is not favorable but may be suitable in narrow-bandwidth measurements.

## Slide 25: Backup slides

## Slide 26
The UMBC Ghost Imaging experiment
UMBC
(x,y)
f
a1
a2
b
Photon pairs
source
Background suppression
Imaging of difficult to access objects
Dual-band imaging
Relaxed requirements on imaging optics
(photon energy conservation)
(photon momentum conservation)
Notes: It all started…

## Slide 27
Glauber correlation function
Laser light: g(2)(0) = 1 Poisson statistics (random process)
Pulsed light: g(2)(0) > 1 “Bunching”
Amplitude-squeezed light: g(2)(0) < 1 “Anti-bunching” (quantum!)
Single-mode thermal light: g(2)(0) = 2 “Bunching”
Statistics of photon detections
“UR”
“UMBC”
???
Notes: Light propagets as a wave, but emitted and absorbed as particles. Statistics of photodetections, e.g. the corfunction, provides info about light source

## Slide 28
Two-coordinate correlation function can be introduced likewise
Observed by means of photodetections coincidences. In practice, one measures
x1
x2
with single-photon measurements, or
with photocurrents measurements
Notes: Two-coordinate corfunctions can also be introduced.

## Slide 29: Phase objects models for Gravitational Lensing
We consider three common* models for mass distribution:
where
Source
Detector
Gravity plane
a
grad f
*) “A Catalog of Mass Models for Gravitational Lensing”, arXiv:astro-ph/0102341v2
Gravity plane of constant surface mass-density Σ=const. This model corresponds to the constant mass distribution of the matter near the symmetry axis.
The surface mass-density of the plane Σ ~ 1/ξ. This model is a simple realization of spatial distribution of matter in galaxies, clusters of galaxies, etc.
A point mass. This model corresponds to a black hole or another very compact space object.

## Slide 30
Gravity plane of constant surface mass-density Σ=const.
(b) The surface mass-density of the plane is inversely proportional to impact parameter ξ.
where the modified length L* depends on the surface mass density.
This is equivalent to free-space propagation over a greater distance.
(0) Free-space propagation.
where d0 depends on the total mass.
This multiplies the correlation function by an unobservable phase factor.
The off-axis configuration may lead to observable effects and needs to be analyzed.

## Slide 31
1 ps timing resolution 3.3 nm bandwidth @ l = 1 mm.
Loss relative to maximally wide-band intensity measurement is 23 dB
(again, much less for a color-resolved measurement)
The cost of narrow-band detection

## Slide 32
Kuiper Belt
Chang H., et al., Nature, 442, 660–663 (2006):
30-50 AU from the Sun.
Roques F., et al., Astron. J., 132, 819–822 (2006):
Notes: Get parameters from papers, model speckles. AU = 149,597,870,700 meters